# Rectifier Validation Report

## 1. Objective

To evaluate the performance, efficiency and thermal behavior of the rectifier under specified operating conditions.

## 2. Test Setup

The rectifier DUT was tested using the validation test setup. Electrical parameters such as voltage, current, power and temperature were monitored and recorded throughout the test duration.

## 3. Validation Summary

Maximum Efficiency : 100.04%

Minimum Efficiency : 99.93%

Average Efficiency : 100.00%

Maximum Output Power : 28.56 kW

Average Output Power : 26.25 kW

Maximum Temperature : 39.50 °C

Average Temperature : 37.82 °C

Average Output Voltage : 690.89 V

Total Samples: 30

Samples with Efficiency < 90.0%: 0 (0.0%)

Samples with Temperature > 50.0°C: 0 (0.0%)

## 4. Test Evaluation

Efficiency Result : PASS

Temperature Result : PASS

Overall Result : PASS

## 5. Observations

The rectifier achieved an average efficiency of 100.00% which meets the acceptance criteria (≥ 90.0%).

Thermal performance was satisfactory with a maximum temperature of 39.50 °C (≤ 50.0°C).

The maximum output power delivered during the test was 28.56 kW.

The average output voltage during the test was 690.89 V.

## 6. Graphs

Efficiency Graph

Output Voltage Graph

Temperature Graph

Output Power Graph

## 7. Conclusion

The rectifier successfully passed the validation test. The average efficiency was 100.00% and the maximum temperature remained within acceptable limits. The DUT is considered suitable for operation under the tested conditions.